# Highlights

Random-split NIR prediction intervals under-cover new seasons and instruments

Group-conformal calibration uses out-of-group residuals scaled by PLS T² and Q

Coverage stayed near 0.90 for new mango seasons, instruments and soil regions

Distribution-free group-level guarantees need about ten calibration groups

No interval method rescues an uncorrected, uninformative instrument transfer